Project 13: An Analysis of Phosphate Concentration in Various Brands of Cola

Author: Owen Sullivan

My signature indicates that this document represents my own work. Outside of shared data, the information, thoughts and ideas are my own except as indicated in the references. I have submitted an electronic copy through CANVAS to be scanned by TurnItIn.com. In addition, I have not given aid to another student on this assignment.

Contributors include: Annabel Miller, Gillian Stitt, Stephanie Kusguen, Owen Sullivan, Oscar Hernandez Manuel, Kobe Mathis, Blaise Mengue, Harmon Brock Graham

Dates conducted: September 7, 2021; September 14, 2021; September 21, 2021; September 28, 2021

Introductory note:

A series of equipment malfunctions and failures resulted in unreasonable data for my group, Group C (Annabel Miller, Gillian Stitt, Stephanie Kusguen, Owen Sullivan), throughout much of the initial processes of Project 13, including, but not limited to: the analysis of food coloring in water, the analysis of potassium permanganate (KMnO4), the analysis of the phosphate ion[2] (PO43-), and the analysis of colas (Coca-Cola, Dr. Pepper, Sam’s Club Cola, Dr. Thunder). As a result, our section’s TA (Alex Mayfield) recommended merging the data sets of my group and Group D (Oscar Hernandez Manuel, Kobe Mathis, Blaise Mengue, Harmon Brock Graham); thus, the analyses of the phosphate ion[2] (PO43-) and colas were conducted as one experiment for both groups. The limitations of each experiment are detailed alongside the data; the original data sets for Group C have been noted as well as the final shared data set.

Project introduction:

The question was posed of what concentrations of a phosphate ion[2] (PO43-) are present in a number of leading cola brands; since many major cola brands incorporate the phosphate ion[2] into the formulae of the sodas, there should be a measurable concentration.

For the experiment, my group determined that three different brands (samples) of cola should be analyzed using a spectrophotometer. Because of the aforementioned merging of data sets between my group and Group D, four colas were analyzed; this is due to the fact that each group’s original experiment included two of the same cola samples (Coca-Cola and Dr. Pepper). The four brands used for the final experiment were Coca-Cola, Dr. Pepper, Sam’s Club Cola, and Dr. Thunder.

We conducted background experiments using both mixtures of water and food coloring and a sample of potassium permanganate (KMnO4) to serve as examples for how to use the spectrophotometer[1]. Data for these experiments is listed below.

Background materials:

- Spectrophotometer (SPECTRONICTM 200 Spectrophotometer)[1]

- Various sized beakers

- Various sized flasks

- Various volume pipettes

- Red and blue food coloring

- Potassium permanganate solution (KMnO4)

- Water

- Cuvettes

Background experiments (methods and data):

Before my group conducted the experiment with food coloring, we poured a 5mL sample of water into a cuvette and used it to zero-out the spectrophotometer[1].

The first sample of food coloring and water we used contained rich blue food coloring. We agreed upon a mixture of 5mL of water mixed with 1 drop of food coloring, and we measured it into a cuvette. We then placed it in the spectrophotometer[1] for analysis. Tests were conducted with wavelengths ranging from 350nm to 650nm. A table of the recorded absorbances follows:

| Wavelength (nm) | Absorbance | Wavelength (nm) | Absorbance |
| --- | --- | --- | --- |
| 350 | 0.27 | 510 | 0.26 |
| 360 | 0.32 | 520 | 0.34 |
| 370 | 0.41 | 530 | 0.45 |
| 380 | 0.58 | 540 | 0.62 |
| 390 | 0.79 | 550 | 0.85 |
| 400 | 0.96 | 560 | 1.21 |
| 410 | 1.24 | 570 | 1.77 |
| 420 | 0.96 | 580 | 2.50 |
| 430 | 0.47 | 590 | 2.50 |
| 440 | 0.22 | 600 | 2.50 |
| 450 | 0.15 | 610 | 2.50 |
| 460 | 0.13 | 620 | 2.50 |
| 470 | 0.14 | 630 | 2.50 |
| 480 | 0.15 | 640 | 2.50 |
| 490 | 0.18 | 650 | 2.50 |
| 500 | 0.21 |  |  |

As for why the absorbances from wavelengths of 580nm to 650nm all maxed out at 2.50 on the spectrophotometer[1], my group was advised by our TA (Alex Mayfield) that the blue food coloring was so rich that the equipment could not detect higher wavelengths in the solution.

We conducted a similar experiment with a mixture of water and red food coloring. Again, 5mL of water and a drop of red food coloring was measured into a cuvette and placed in the spectrophotometer for analysis. Absorbances:

| Wavelength (nm) | Absorbance | Wavelength (nm) | Absorbance |
| --- | --- | --- | --- |
| 350 | 0.38 | 510 | 2.20 |
| 360 | 0.40 | 520 | 2.20 |
| 370 | 0.44 | 530 | 2.13 |
| 380 | 0.49 | 540 | 1.72 |
| 390 | 0.54 | 550 | 1.15 |
| 400 | 0.58 | 560 | 0.68 |
| 410 | 0.60 | 570 | 0.37 |
| 420 | 0.61 | 580 | 0.19 |
| 430 | 0.62 | 590 | 0.09 |
| 440 | 0.65 | 600 | 0.04 |
| 450 | 0.75 | 610 | 0.03 |
| 460 | 0.97 | 620 | 0.02 |
| 470 | 1.24 | 630 | 0.02 |
| 480 | 1.56 | 640 | 0.01 |
| 490 | 1.95 | 650 | 0.01 |
| 500 | 2.20 |  |  |

Although the data for red food coloring was generally less flawed than the data for blue food coloring, there were still unexpected values in the 500-520nm and 590-650nm ranges. My group agreed that we may have experienced the opposite outcome to the test with blue food coloring, meaning the red food coloring may not have been rich enough.

We conducted a third experiment with a 5mL mixture of water mixed and one drop each of red and blue food colorings. Our TA (Alex Mayfield), believing that we would benefit from diluting our mixture prior to measuring, poured some of our mixture out and replaced the remainder with water. As such, we did not record any exact values of a given solution for the mixture. Absorbances:

| Wavelength (nm) | Absorbance | Wavelength (nm) | Absorbance |
| --- | --- | --- | --- |
| 350 | 0.17 | 510 | 0.52 |
| 360 | 0.19 | 520 | 0.55 |
| 370 | 0.23 | 530 | 0.57 |
| 380 | 0.27 | 540 | 0.50 |
| 390 | 0.31 | 550 | 0.40 |
| 400 | 0.33 | 560 | 0.37 |
| 410 | 0.37 | 570 | 0.42 |
| 420 | 0.31 | 580 | 0.54 |
| 430 | 0.21 | 590 | 0.65 |
| 440 | 0.17 | 600 | 0.80 |
| 450 | 0.18 | 610 | 1.04 |
| 460 | 0.22 | 620 | 1.43 |
| 470 | 0.28 | 630 | 1.83 |
| 480 | 0.35 | 640 | 1.77 |
| 490 | 0.43 | 650 | 1.16 |
| 500 | 0.49 |  |  |

My group believed that the results in the 600-650nm range can once again be attributed to a mixture too rich for the spectrophotometer[1] to detect those wavelengths.

One final experiment was conducted in a similar fashion using a 5mL mixture of 12.5% potassium permanganate (KMnO4) and 87.5% water. Absorbances:

| Wavelength (nm) | Absorbance | Wavelength (nm) | Absorbance |
| --- | --- | --- | --- |
| 350 | 0.25 | 510 | 0.43 |
| 360 | 0.21 | 520 | 0.47 |
| 370 | 0.16 | 530 | 0.58 |
| 380 | 0.09 | 540 | 0.50 |
| 390 | 0.04 | 550 | 0.55 |
| 400 | 0.00 | 560 | 0.39 |
| 410 | 0.05 | 570 | 0.32 |
| 420 | 0.04 | 580 | 0.24 |
| 430 | 0.04 | 590 | 0.11 |
| 440 | 0.05 | 600 | 0.07 |
| 450 | 0.04 | 610 | 0.06 |
| 460 | 0.02 | 620 | 0.06 |
| 470 | 0.03 | 630 | 0.06 |
| 480 | 0.04 | 640 | 0.06 |
| 490 | 0.07 | 650 | 0.05 |
| 500 | 0.04 |  |  |

Once again, we attributed unexpected results to the mixture being too rich.

A lambda max of 530nm was found for the purposes of a later experiment, but was eventually disregarded in favor of more usual data from Group D.

Despite the unexpected results of each experiment, my group effectively learned how to analyze samples using the spectrophotometer[1].

Primary experiment materials:

- Spectrophotometer (SPECTRONICTM 200 Spectrophotometer)[1]

- Various sized beakers

- Various sized flasks

- Various volume pipettes

- Phosphate ion[2] (PO43-)

- AVM solution

- Colas (Coca-Cola, Dr. Pepper, Sam’s Club Cola, Dr. Thunder)

- Water

- Cuvettes

- Hot plate

Primary experiment (methods and data):

Using the background knowledge from the above experiments, my group conducted tests first on the phosphate ion[2] solution (PO43-) using the spectrophotometer[1].

First, we prepared a blank solution using a mixture of AVM and water; we used this mixture to zero the spectrophotometer[1]. Then, we used the equation provided by our TA (Alex Mayfield) to calculate the concentrations of the phosphate ion[2] mixed with water:

C1V1 = C2V2

(0.101)(v1) = (0.001)(50mL) → v1 = 0.495mL

We came up with a total of five calculated mixtures to measure a calibration curve for the phosphate ion[2]:

- (0.001m)(v1) = (0.0001m)(10mL) → v1 = 1mL

- (0.0001m)(v1) = (0.0008m)(10mL) → v1 = 8mL

- (0.0008m)(v1) = (0.0005m)(10mL) → v1 = 6.25mL

- (0.0005m)(v1) = (0.0002m)(10mL) → v1 = 4mL

- (0.001m)(v1) = (0.0003m)(10mL) → v1 = 3mL

I personally heated each sample of cola on a hot plate to remove gas bubbles. Then, I mixed each sample to create a solution of 1mL cola + 49mL water. I made a second mixture of 2 parts cola + water to 1 part AVM; 5mL of AVM was mixed with 10mL of each soda + water solution, in this case.

The calibration curve was calculated by Group D and a member of my group (Gillian Stitt).

The equation came out to be:

y = 4537.7x - 0.1336

The absorbances of each cola at a lambda max of 355nm (taken from Group D’s potassium permanganate experiment) were measured and are as follows:

| Coca-Cola | 1.17 |
| --- | --- |
| Dr. Pepper | 1.07 |
| Sam’s Club Cola | 0.97 |
| Dr. Thunder | 1.33 |

A limitation of this data is that the AVM/water blank solution used for zeroing the spectrophotometer[1] did not result in an exact zero on the equipment. The reason for this is unknown, so our TA (Alex Mayfield) permitted us to continue the experiment.

Using these absorbances and the calibration curve equation, and an equation for the concentration of the phosphate ion[2] in undiluted soda (concentration from calibration curve * [(total volume of cola + water solution) / (total volume of cola)]), the molarity of each soda was produced.

| Coca-Cola | 0.01435 |
| --- | --- |
| Dr. Pepper | 0.01325 |
| Dr. Thunder | 0.0167 |

This data does not include the molarity of Sam’s Club Cola, as it was not calculated at the time of experimentation.

Conclusions:

Based on the calculated molarities, I’ve observed that the concentration of the phosphate ion[2] (PO43-) in each cola must be very low. The inaccuracies of this experiment, exacerbated by equipment failure, resulted in calculations that may not be nearly representative of the actual molar concentration of the phosphate ion[2] (PO43-) in each cola.

Although we did not calculate the molar concentration of the phosphate ion[2] (PO43-) in Sam’s Club Cola, it can be inferred that, based on the other concentrations, it, too, would be very low.

If this experiment were to be repeated, it would make sense to do so with brand new equipment that we could be most certain is not malfunctioning in any way. For the food coloring experiment, in particular, it would be ideal to use food coloring solutions that are consistently rich for each color. It may even be necessary to measure the solutions using a higher volume of water.

Works Cited

[1]

“SPECTRONICTM 200 Spectrophotometer.” Thermo Fisher Scientific. N.p., n.d. Web. 4 Oct. 2021.

[2]

Wikipedia contributors. “Phosphate.” Wikipedia, The Free Encyclopedia. N.p., 18 Sept. 2021. Web. 4 Oct. 2021.